## Your Load Calcs
Load Analysis Spreadsheet by Benjamin Root, modified by John F. Robbins 7-1-99
See page 38 of Home Power issue 58 for description of columns and instructions for using this form.
Use “1” or “0” columns D & E to take advantage of automatic totaling.
John's improvement in accounting for phantom loads is to actually ask for the phantom wattage, then include it in the column which gives the daily Watt-hours. This increases the daily energy consumption total accordingly. Phantom loads are appliances that are actually "on" and using power, even though they appear to be off or not in use. We recommend putting these items on switchable plug strips to avoid power comsumption while not in use, or find appliances that actually go "off" when turned off.
|  |  | AC=1 | Priority=1 | Run | Hours | Days | Phantom-Load | Surge | Ave. WH | Percent
Electrical Loads | Qty | Volts | DC=0 | Not=0 | Watts | /Day | /Wk | Watts | Watts | /Day | of Total
Boom box (example) | 1 | 117 | 1 | 0 | 8 | 4 | 1 | 6 | 35 | 145.1429 | 100%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[9 empty] | Total Daily Average Watt-hrs | 145.1429
[9 empty] | Largest AC Appliance Wattage | 8
[9 empty] | Inverter Priority Wattage | 0
[9 empty] | Largest AC Appliance Surge Wattage | 35
THIS IS PAGE 2 NERD STUFF-- DO NOT PRINT
8 |  | 35 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
8 |  | 35 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0

## Example of Good Loads
Load Analysis Spreadsheet by Benjamin Root, modified by John F. Robbins 7-1-99
See page 38 of Home Power issue 58 for description of columns and instructions for using this form.
Use “1” or “0” columns D & E to take advantage of automatic totaling.
John's improvement in accounting for phantom loads is to actually ask for the phantom wattage, then include it in the column which gives the daily Watt-hours. This increases the daily energy consumption total accordingly. Phantom loads are appliances that are actually "on" and using power, even though they appear to be off or not in use. We recommend putting these items on switchable plug strips to avoid power comsumption while not in use, or find appliances that actually go "off" when turned off.
|  |  | AC=1 | Priority=1 | Run | Hours | Days | Phantom-Load | Surge | Ave. WH | Percent
Electrical Loads | Qty | Volts | DC=0 | Not=0 | Watts | /Day | /Wk | Watts | Watts | /Day | of Total
Fluorescent Lights | 4 | 117 | 1 | 1 | 15 | 5 | 7 | 0 | 0 | 300 | 7.646%
Refrigerator Sun Frost 16 cf | 1 | 12 | 0 | 0 | 48 | 8 | 7 | 0 | 1300 | 384 | 9.786%
Blender | 1 | 117 | 0 | 0 | 350 | 0.1 | 2 | 0 | 1050 | 10 | 0.2549%
Microwave Oven | 1 | 117 | 1 | 0 | 900 | 0.25 | 7 | 0 | 1200 | 225 | 5.734%
Food Processor | 1 | 117 | 1 | 0 | 400 | 0.1 | 5 | 0 | 1200 | 28.5714 | 0.7282%
Espresso Maker | 1 | 117 | 1 | 0 | 1350 | 0.1 | 7 | 0 | 1350 | 135 | 3.441%
Coffee Grinder | 1 | 117 | 1 | 0 | 150 | 0.05 | 7 | 0 | 200 | 7.5 | 0.1911%
21" Color Television | 1 | 117 | 1 | 1 | 125 | 5 | 7 | 0 | 570 | 625 | 15.93%
Video Cassette Recorder | 1 | 117 | 1 | 1 | 40 | 5 | 7 | 0 | 80 | 200 | 5.097%
Satellite TV System | 1 | 117 | 1 | 1 | 60 | 5 | 7 | 0 | 1600 | 300 | 7.646%
Stereo System | 1 | 117 | 1 | 1 | 30 | 8 | 5 | 0 | 60 | 171.4286 | 4.369%
Computer | 1 | 117 | 1 | 1 | 45 | 6 | 3 | 0 | 135 | 115.7143 | 2.949%
Computer Printer | 1 | 117 | 1 | 0 | 120 | 0.25 | 3 | 0 | 360 | 12.8571 | 0.3277%
Power Tool | 1 | 117 | 1 | 0 | 750 | 0.5 | 3 | 0 | 2250 | 160.7143 | 4.096%
Radio Telephone (receive) | 1 | 12 | 0 | 0 | 6 | 24 | 7 | 0 | 0 | 144 | 3.67%
Radio Telephone (transmit) | 1 | 12 | 0 | 0 | 20 | 1 | 7 | 0 | 0 | 20 | 0.5097%
Phone Answering Machine | 1 | 117 | 1 | 1 | 6 | 24 | 7 | 0 | 0 | 144 | 3.67%
Washing Machine | 1 | 117 | 1 | 0 | 800 | 0.5 | 4 | 0 | 100 | 228.5714 | 5.825%
Clothes Dryer (motor only) | 1 | 117 | 1 | 0 | 500 | 1 | 4 | 0 | 1500 | 285.7143 | 7.282%
Sewing Machine | 1 | 117 | 1 | 0 | 80 | 2 | 1 | 0 | 400 | 22.8571 | 0.5825%
Vacuum Cleaner | 1 | 117 | 1 | 0 | 650 | 0.5 | 4 | 0 | 1950 | 185.7143 | 4.733%
Hair Dryer | 1 | 117 | 1 | 0 | 1000 | 0.2 | 7 | 0 | 1500 | 200 | 5.097%
Ni-Cd Battery Charger | 1 | 117 | 1 | 1 | 4 | 15 | 2 | 0 | 25 | 17.1429 | 0.4369%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[9 empty] | Total Daily Average Watt-hrs | 3923.7857
[9 empty] | Largest AC Appliance Wattage | 1350
[9 empty] | Inverter Priority Wattage | 340
[9 empty] | Largest AC Appliance Surge Wattage | 2250
THIS IS PAGE 2 NERD STUFF-- DO NOT PRINT
15 |  | 0 |  |  | 15
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
900 |  | 1200 |  |  | 0
400 |  | 1200 |  |  | 0
1350 |  | 1350 |  |  | 0
15 |  | 0 |  |  | 15
125 |  | 570 |  |  | 125
40 |  | 80 |  |  | 40
60 |  | 1600 |  |  | 60
30 |  | 60 |  |  | 30
45 |  | 135 |  |  | 45
120 |  | 360 |  |  | 0
750 |  | 2250 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
6 |  | 0 |  |  | 6
800 |  | 100 |  |  | 0
500 |  | 1500 |  |  | 0
80 |  | 400 |  |  | 0
650 |  | 1950 |  |  | 0
1000 |  | 1500 |  |  | 0
4 |  | 25 |  |  | 4
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0

## Example of Bad Loads
Load Analysis Spreadsheet by Benjamin Root, modified by John F. Robbins 7-1-99
See page 38 of Home Power issue 58 for description of columns and instructions for using this form.
Use “1” or “0” columns D & E to take advantage of automatic totaling.
John's improvement in accounting for phantom loads is to actually ask for the phantom wattage, then include it in the column which gives the daily Watt-hours. This increases the daily energy consumption total accordingly. Phantom loads are appliances that are actually "on" and using power, even though they appear to be off or not in use. We recommend putting these items on switchable plug strips to avoid power comsumption while not in use, or find appliances that actually go "off" when turned off.
|  |  | AC=1 | Priority=1 | Run | Hours | Days | Phantom-Load | Surge | Ave. WH | Percent
Electrical Loads | Qty | Volts | DC=0 | Not=0 | Watts | /Day | /Wk | Watts | Watts | /Day | of Total
Incandescent Lights | 4 | 117 | 1 | 1 | 60 | 5 | 7 | 6 | 0 | 1314 | 13.86%
Refrigerator RCA 16 cu. ft. | 1 | 12 | 1 | 1 | 141 | 10 | 7 | 0 | 1300 | 1410 | 14.87%
Blender | 1 | 117 | 0 | 0 | 350 | 0.1 | 2 | 0 | 1050 | 10 | 0.1055%
Microwave Oven | 1 | 117 | 1 | 0 | 900 | 0.25 | 7 | 4 | 1200 | 320 | 3.375%
Food Processor | 1 | 117 | 1 | 0 | 400 | 0.1 | 5 | 0 | 1200 | 28.5714 | 0.3013%
Espresso Maker | 1 | 117 | 1 | 0 | 1350 | 0.1 | 7 | 0 | 1350 | 135 | 1.424%
Coffee Grinder | 1 | 117 | 1 | 0 | 150 | 0.05 | 7 | 0 | 200 | 7.5 | 0.0791%
21" Color Television | 1 | 117 | 1 | 1 | 125 | 5 | 7 | 20 | 570 | 1005 | 10.6%
Video Cassette Recorder | 1 | 117 | 1 | 1 | 40 | 5 | 7 | 15 | 80 | 485 | 5.115%
Satellite TV System | 1 | 117 | 1 | 1 | 60 | 5 | 7 | 22 | 1600 | 718 | 7.572%
Video Cassette Recorder | 1 | 117 | 1 | 1 | 40 | 5 | 7 | 15 | 80 | 485 | 5.115%
Stereo System | 1 | 117 | 1 | 1 | 30 | 8 | 5 | 3 | 60 | 226.2857 | 2.387%
Satellite TV System | 1 | 117 | 1 | 1 | 60 | 5 | 7 | 22 | 1600 | 718 | 7.572%
Computer | 1 | 117 | 1 | 1 | 45 | 6 | 3 | 3 | 135 | 180 | 1.898%
Computer Printer | 1 | 117 | 1 | 0 | 120 | 0.25 | 3 | 3 | 360 | 84.5357 | 0.8915%
Power Tool | 1 | 117 | 1 | 0 | 750 | 0.5 | 3 | 0 | 2250 | 160.7143 | 1.695%
Radio Telephone (receive) | 1 | 12 | 0 | 0 | 6 | 24 | 7 | 0 | 0 | 144 | 1.519%
Radio Telephone (transmit) | 1 | 12 | 0 | 0 | 20 | 1 | 7 | 0 | 0 | 20 | 0.2109%
Phone Answering Machine | 1 | 117 | 1 | 1 | 6 | 24 | 7 | 0 | 0 | 144 | 1.519%
Washing Machine | 1 | 117 | 1 | 0 | 800 | 0.5 | 4 | 8 | 100 | 418.2857 | 4.411%
Clothes Dryer | 1 | 117 | 1 | 0 | 500 | 1 | 4 | 8 | 1500 | 473.1429 | 4.99%
Sewing Machine | 1 | 117 | 1 | 0 | 80 | 2 | 1 | 0 | 400 | 22.8571 | 0.2411%
Vacuum Cleaner | 1 | 117 | 1 | 0 | 650 | 0.5 | 4 | 0 | 1950 | 185.7143 | 1.959%
Hair Dryer | 1 | 117 | 1 | 0 | 1000 | 0.2 | 7 | 0 | 1500 | 200 | 2.109%
Ni-Cd Battery Charger | 1 | 117 | 1 | 1 | 4 | 15 | 2 | 2 | 25 | 56.5714 | 0.5966%
Ni-Cd Battery Charger | 1 | 117 | 1 | 1 | 4 | 15 | 2 | 2 | 25 | 56.5714 | 0.5966%
Clothes Dryer | 1 | 117 | 1 | 0 | 500 | 1 | 4 | 8 | 1500 | 473.1429 | 4.99%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[10 empty] | 0 | 0%
[9 empty] | Total Daily Average Watt-hrs | 9481.8929
[9 empty] | Largest AC Appliance Wattage | 1350
[9 empty] | Inverter Priority Wattage | 675
[9 empty] | Largest AC Appliance Surge Wattage | 2250
THIS IS PAGE 2 NERD STUFF-- DO NOT PRINT
60 |  | 0 |  |  | 60
141 |  | 1300 |  |  | 141
0 |  | 0 |  |  | 0
900 |  | 1200 |  |  | 0
400 |  | 1200 |  |  | 0
1350 |  | 1350 |  |  | 0
60 |  | 0 |  |  | 60
125 |  | 570 |  |  | 125
40 |  | 80 |  |  | 40
60 |  | 1600 |  |  | 60
40 |  | 80 |  |  | 40
30 |  | 60 |  |  | 30
60 |  | 1600 |  |  | 60
45 |  | 135 |  |  | 45
120 |  | 360 |  |  | 0
750 |  | 2250 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
6 |  | 0 |  |  | 6
800 |  | 100 |  |  | 0
500 |  | 1500 |  |  | 0
80 |  | 400 |  |  | 0
650 |  | 1950 |  |  | 0
1000 |  | 1500 |  |  | 0
4 |  | 25 |  |  | 4
4 |  | 25 |  |  | 4
500 |  | 1500 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0
0 |  | 0 |  |  | 0