## extra data
Mean Percentage of possible sunshine for
Burlington | January | February | March | April | May | June | July | August | September | October | November | December
| 34 | 43 | 48 | 47 | 53 | 59 | 62 | 59 | 51 | 43 | 25 | 24 | 24
| Mean Percentage of possible sunshine for June: Average Monthly and Yearly degree days |  | Yearly total
| 1513 | 1333 | 1187 | 714 | 353 | 90 | 28 | 65 | 207 | 539 | 891 | 1349 |  | 8269
State | January: latitude; February: elevation; March: Outside winter design temp; April: Average winter temperature
burlington | January: 44, 3; February: 331; March: -10; April: 29.4
Month | January: January; April: Febuary; Mean Percentage of possible sunshine for July: March; Mean Percentage of possible sunshine for October: April | May |  |  | June |  |  | July |  |  | August |  |  | September |  |  | October |  |  | November |  |  | December
| East | South | West | East | South | West | East | South | West | East | South | West | East | South | West | East | South | West | East | South | West | East | South | West | East | South | West | East | South | West | East | South | West | East | South | West
Degrees 40 | 452 | 813 | 62 | 648 | 821 | 85 | 832 | 64 | 114 | 957 | 488 | 148 | 1024 | 358 | 176 | 1038 | 315 | 188 | 1008 | 352 | 181 | 928 | 474 | 157 | 787 | 925 | 119 | 623 | 974 | 89 | 445 | 798 | 63 | 374 | 775 | 53
Degrees 48 | 316 | 701 | 43 | 541 | 813 | 68 | 775 | 767 | 101 | 957 | 605 | 141 | 1065 | 483 | 174 | 1095 | 436 | 189 | 886 | 474 | 181 | 929 | 578 | 151 | 729 | 737 | 106 | 519 | 779 | 72 | 310 | 686 | 44 | 233 | 616 | 34
Average | 384 | 1514 | 52.5 | 594.5 | 1634 | 76.5 | 803.5 | 831 | 107.5 | 957 | 1093 | 144.5 | 1044.5 | 841 | 175 | 1066.5 | 751 | 188.5 | 947 | 826 | 181 | 928.5 | 1052 | 154 | 758 | 1662 | 112.5 | 571 | 1753 | 80.5 | 377.5 | 1484 | 53.5 | 303.5 | 1391 | 43.5
Month | January: Degree days
Sep | January: 207
Oct | January: 539
Nov | January: 891
Dec | January: 1349
Jan | January: 1513
Feb | January: 1333
Mar | January: 1187
Apr | January: 714
May | January: 353
Jun | January: 90
Jul | January: 28
Aug | January: 65
U value | January: u-factor (in.-lb); February: in; March: architectural drawing & LIGHT CONSTRUCTION
Batt Blanket | January: 0.24; February: 1.5
Loose wool | January: 0.26; February: 4
Vermiculite | January: 0.24; February: 1
Urethane panel | January: 0.16; February: 1
Polystyrene foam | January: 0.2; February: 1
foam glass | January: 0.35; February: 1
insulationg board | January: 0.36; February: 1

## Caculations
East Facing Glass | 0
West Facing Glass | 0
South Facing Glass | 2000 | 2000
Noth Facing Glass | 0
Total Glass Area | 2000
Area with Nighttime insulation | 2000
Windows U-value | 0.3
Area of exterior heated walls | 4000
Net area of exterior heated walls | 2000
Area of heated lower living space concrete wall (in sidehill design) | 0 | 4000
Area of insulated flat ceiling | 10000
Volume of the heated airspace of the house | 100000
Outside Winter design temperature | -10
A. Framed wall R-Value
.15 MPH wind outside | 0.17
Exterior siding | 5
Rigid insulation | 5
Exterior House wrap | 0.5
Exterior sheathing | 0
Fiberglass insulation | 20
Vapor barrier | 0
Interior wall covering | 0
Still air (inside surface of wall) | 0.68
Total wall R-value | 31.35
U-value of wall=1/R= | 0.031898
Roof or Ceiling: R-value
15 MPH wind outside | 0.17
Roofing material | 0.5
Felt roofing paper | 0.5
Roof sheathing | 0.5
Fiberglass insulation | 40
Vapor barrier | 0.5
Inside roof or ceiling covering | 0
still air (inside suface of roof or ceiling) | 0.68
Total Roof R-value | 42.85
U-value of roof=1/R= | 0.023337
Glass with nightime insulation
15 MPH wind outside | 0.17
Glass | 0.3
Dead air space (between glass and insulation device) | 0
Insulating device | 0
Still air (inside of insulating device) | 0.68
Total R-value with nighttime insuation | 1.15
U-value of nightime insulated glass | 0.86957
Lower living-space concrete wall: R-value
Exterior rigid insulation | 19
Concrete (inches x .075) | 6 | 0.075
Vapor barrier | 0.5
Interior wall covering | 0
Still air (inside surface of wall) | 1
Total R-value | 26.5
U-value of lower living space | 0.037736
Exterior wall Heat loss in Btus/hr*F | 127.5917
Roof or Ceiling loss | 233.3722
Infiltration Loss using volume method | 1206
Heat Loss Through Glass (without night-time window insultation) | 600
Total heat loss (Btus/Hr*F | 2166.9639
Daily heat loss (Btu/F*day) | 52007.1344
Hours a night with insulation | 12
Reduction of Heat loss due to night time Glass insulation | -13669.5652
Heat loss with Nighttime Glass insulation | 38337.5692
Lower living space concrete wall in btus | 0
Percentages
East, West and South glass as percentage of heated wall area | 50% | 12.76%
SHG
Month | Days | East | South | West | Total | %sunshine | Shade factor | Clearness # | Total solar heat gain | Monthly House load | Difference:Not solar supplied
Sep | 30 | 0 | 99720000 | 0 | 99720000 | 0.51 | 0.88 | 1 | 44754336 | 7935876.8303 | -36818459.1697
Oct | 31 | 0 | 108686000 | 0 | 108686000 | 0.43 | 0.88 | 1 | 41126782.4 | 20663949.8141 | -20462832.5859
Nov | 30 | 0 | 89040000 | 0 | 89040000 | 0.25 | 0.88 | 1 | 19588800 | 34158774.1826 | 14569974.1826
Dec | 31 | 0 | 103044000 | 0 | 103044000 | 0.24 | 0.88 | 1 | 21762892.8 | 51717380.8892 | 29954488.0892
Jan | 31 | 0 | 93868000 | 0 | 93868000 | 0.34 | 0.88 | 1 | 28085305.6 | 58004742.2427 | 29919436.6427
Feb | 28 | 0 | 91504000 | 0 | 91504000 | 0.43 | 0.88 | 1 | 34625113.6 | 51103979.7815 | 16478866.1815
Mar | 31 | 0 | 51522000 | 0 | 51522000 | 0.48 | 0.88 | 1 | 21762892.8 | 45506694.6742 | 23743801.8742
Apr | 30 | 0 | 65580000 | 0 | 65580000 | 0.47 | 0.88 | 1 | 27123888 | 27373024.4291 | 249136.4291
May | 31 | 0 | 52142000 | 0 | 52142000 | 0.53 | 0.88 | 1 | 24319028.8 | 13533161.9376 | -10785866.8624
[9 empty] | 263149040 | 309997584.7813 | 46848544.7813
[9 empty] | Total Purchase of fuel | 15.1126
[9 empty] | % solar | 84.8874
oil furnace | 0.7
propane gas furnace | 0.75
Electric heater | 1
woodstove | 0.85
| BTUS for furnace size | Amount
Furnace size | 10576.8478 | 478.0464 | Gallons
propane gas | 9871.7246 | 682.6746 | Gallons
electric heater | 7403.7934 | 13718.4611 | Kilowatt-hour
woodstove | 8710.3452 | 2.7558 | Cords