## extra data
Mean Percentage of possible sunshine for
Burlington | January | February | March | April | May | June | July | August | September | October | November | December
| 34 | 43 | 48 | 47 | 53 | 59 | 62 | 59 | 51 | 43 | 25 | 24 | 24
| Mean Percentage of possible sunshine for June: Average Monthly and Yearly degree days |  | Yearly total
| 1513 | 1333 | 1187 | 714 | 353 | 90 | 28 | 65 | 207 | 539 | 891 | 1349 |  | 8269
State | January: latitude; February: elevation; March: Outside winter design temp; April: Average winter temperature
burlington | January: 44, 3; February: 331; March: -10; April: 29.4
Month | January: January; April: Febuary; Mean Percentage of possible sunshine for July: March; Mean Percentage of possible sunshine for October: April | May |  |  | June |  |  | July |  |  | August |  |  | September |  |  | October |  |  | November |  |  | December
| East | South | West | East | South | West | East | South | West | East | South | West | East | South | West | East | South | West | East | South | West | East | South | West | East | South | West | East | South | West | East | South | West | East | South | West
Degrees 40 | 452 | 813 | 452 | 648 | 821 | 648 | 832 | 694 | 832 | 957 | 488 | 957 | 1024 | 358 | 1024 | 1038 | 315 | 1038 | 1008 | 352 | 1008 | 928 | 474 | 928 | 787 | 672 | 787 | 623 | 791 | 623 | 445 | 798 | 445 | 374 | 775 | 374
Degrees 48 | 316 | 701 | 316 | 541 | 813 | 541 | 775 | 767 | 775 | 957 | 605 | 957 | 1065 | 483 | 1065 | 1095 | 436 | 1095 | 1050 | 474 | 1050 | 929 | 578 | 929 | 729 | 737 | 729 | 519 | 779 | 519 | 310 | 686 | 310 | 233 | 616 | 233
Average | 384 | 1514 | 384 | 594.5 | 1634 | 594.5 | 803.5 | 1461 | 803.5 | 957 | 1093 | 957 | 1044.5 | 841 | 1044.5 | 1066.5 | 751 | 1066.5 | 1029 | 826 | 1029 | 928.5 | 1052 | 928.5 | 758 | 1409 | 758 | 571 | 1570 | 571 | 377.5 | 1484 | 377.5 | 303.5 | 1391 | 303.5
Month | January: Degree days
Sep | January: 207
Oct | January: 539
Nov | January: 891
Dec | January: 1349
Jan | January: 1513
Feb | January: 1333
Mar | January: 1187
Apr | January: 714
May | January: 353
Jun | January: 90
Jul | January: 28
Aug | January: 65
U value | January: u-factor (in.-lb); February: in; March: architectural drawing & LIGHT CONSTRUCTION
Batt Blanket | January: 0.24; February: 1.5
Loose wool | January: 0.26; February: 4
Vermiculite | January: 0.24; February: 1
Urethane panel | January: 0.16; February: 1
Polystyrene foam | January: 0.2; February: 1
foam glass | January: 0.35; February: 1
insulationg board | January: 0.36; February: 1
R-value* | February: per inch
fiberglass batt | February: 3.2
high perf fiberglass batt | February: 3.8
loose fill fiberglass | February: 2.5
loose fill rock wool | February: 3.2
loose fill cellulose | February: 3.5
perligt or vermiculite | February: 2.7
expanded polystryene | February: 3.8
extruded polylstryene | February: 4.8
polyisocyanurate, unfaced | February: 5.8
Polyisocyanurate, foil faced | February: 7
spray polyurethane foam | February: 5.9
for thickness indicated
8" concrete block | February: 1.11
4" brick | February: 0.8
poured concrete / in | February: 0.08
1/2" gypsum | February: 0.45
5/8" Gypsum | February: 0.56
1/2" plywood | February: 0.63
2.25" solid wood door | February: 3.7
metal insulated door | February: 15
* from Yestermorrow class by Robert Riversong | bar: January to February

## Caculations
Kachadorian's Passive Solar Worksheets
user input needed
Corrections or significant changes to original spreadsheet
5 | East Facing Glass (ft^2) |  | 36 |  |  |  |  | Addition not in Kachadorian's worksheets
6 | West Facing Glass |  | 68
7 | South Facing Glass |  | 264 | 368
8 | North Facing Glass |  | 28
9 | Total Glass Area |  | 396
10 | Area with Nighttime insulation (ft^2) |  | 250 | Corrected to make more insulation MORE efficient
11 | Windows U-value |  | 0.33
12 | Shade Coefficient of Glass |  | 0.88
13 | U-value of glass with insulation |  | 0.10152
14 | Area of exterior heated walls (above grade only) |  | 1744
15 | Net area of exterior heated walls |  | 1348
16 | Area of heated lower living space concrete wall (in sidehill design) |  | 704 | 2448
| Area of ground floor |  | 936 | Heat loss through the floor.
17 | Area of insulated flat ceiling |  | 1056
18 | Volume of the heated airspace of the house |  | 19000
19 | Outside Winter design temperature |  | -10
| Air exchanges per hour |  | 0.47 | Kachadorian recommends 0.67. Other sources use 0.25 - 0.5. HUGE influence on end result!
A | Framed wall R-Value
| .15 MPH wind outside |  | 0.17
| Exterior siding |  | 1.5
| Rigid insulation |  | 0
| Exterior House wrap |  | 0.5
| Exterior sheathing |  | 0
| Fiberglass insulation |  | 37
| Vapor barrier |  | 0
| Interior wall covering |  | 0.5
| Still air (inside surface of wall) |  | 0.68
| Total wall R-value |  | 40.35
| U-value of wall=1/R= |  | 0.024783 | BTUs/hr*ft^2*°F
B | Roof or Ceiling: R-value
| 15 MPH wind outside |  | 0.17
| Roofing material |  | 0.5
| Felt roofing paper |  | 0.5
| Roof sheathing |  | 0.5
| Fiberglass insulation |  | 57.5
| Vapor barrier |  | 0
| Inside roof or ceiling covering |  | 0.5
| still air (inside suface of roof or ceiling) |  | 0.68
| Total Roof R-value |  | 60.35
| U-value of roof=1/R= |  | 0.01657 | BTUs/hr*ft^2*°F
C | Glass with nightime insulation
| 15 MPH wind outside |  | 0.17
| Glass |  | 3
| Dead air space (between glass and insulation device) |  | 0
| Insulating device |  | 6
| Still air (inside of insulating device) |  | 0.68
| Total R-value with nighttime insuation |  | 9.85
| U-value of nightime insulated glass |  | 0.10152 | BTUs/hr*ft^2*°F
D | Lower living-space concrete wall: R-value
| Exterior rigid insulation |  | 28
| Concrete (inches x .075) |  | 0.45
| Vapor barrier |  | 0.5
| Interior wall covering |  | 0
| Still air (inside surface of wall) |  | 0
| Total R-value |  | 28.95
| U-value of lower living space |  | 0.034542 | BTUs/hr*ft^2*°F
Ground Floor: R-value
| Exterior rigid insulation |  | 10
| Concrete (inches x .075) |  | 0.45
| Vapor barrier |  | 0.5
| Total R-value |  | 10.95
| U-value of lower living space |  | 0.091324 | BTUs/hr*ft^2*°F
1 | Exterior wall Heat loss in Btus/hr*F |  | 33.4077 | BTUs/hr*°F | Changed from total wall area to net
2 | Roof or Ceiling loss |  | 17.4979 | BTUs/hr*°F
3 | Infiltration Loss using volume method |  | 160.74 | BTUs/hr*°F
4 | Heat Loss Through Glass (without night-time window insultation) |  | 130.68 | BTUs/hr*°F
5 | Total heat loss (Btus/Hr*F |  | 342.3256 | BTUs/hr*°F
| Daily heat loss (Btu/F*day) |  | 8215.8147 | BTUs/day*°F
| Hours a night with insulation |  | 16
| Reduction of Heat loss due to night time Glass insulation |  | -913.9086 | BTUs/day*°F | Correction: a minus sign was added to formula to indicate a credit
6 | Heat loss with Nighttime Glass insulation |  | 7301.906 | BTUs/day*°F
7 | Lower living space concrete wall & ground floor in btus |  | 2195.9448 | BTUs/hr | loss through floor added.
Design check
8 | East, West and South glass as percentage of heated wall area |  | 15.03% | target (10% - 20%)
[5 empty] | SHG |  |  | Burlington
|  | Month | Days | East | South | West | Monthly Total | %sunshine | Shade Coeff | Clearness # | Total solar heat gain | Monthly House load | Difference:Not solar supplied | formula changed to exclude neg numbers
|  | Sep | 30 | 818640 | 11159280 | 1546320 | 13524240 | 0.51 | 0.88 | 1 | 6069678.912 | 3092574.8272 | 0
|  | Oct | 31 | 637236 | 12848880 | 1203668 | 14689784 | 0.43 | 0.88 | 1 | 5558614.2656 | 5569510.3107 | 10896.0451
|  | Nov | 30 | 407700 | 11753280 | 770100 | 12931080 | 0.25 | 0.88 | 1 | 2844837.6 | 8087078.5634 | 5242240.9634
|  | Dec | 31 | 338706 | 11383944 | 639778 | 12362428 | 0.24 | 0.88 | 1 | 2610944.7936 | 11484054.2088 | 8873109.4152
|  | Jan | 31 | 428544 | 12390576 | 809472 | 13628592 | 0.34 | 0.88 | 1 | 4077674.7264 | 12681566.8006 | 8603892.0742
|  | Feb | 28 | 599256 | 12078528 | 1131928 | 13809712 | 0.43 | 0.88 | 1 | 5225595.0208 | 11209115.6846 | 5983520.6638
|  | Mar | 31 | 896706 | 11956824 | 1693778 | 14547308 | 0.48 | 0.88 | 1 | 6144782.8992 | 10301145.4292 | 4156362.53
|  | Apr | 30 | 1033560 | 8656560 | 1952280 | 11642400 | 0.47 | 0.88 | 1 | 4815296.64 | 6794641.1931 | 1979344.5531
|  | May | 31 | 1165662 | 6882744 | 2201806 | 10250212 | 0.53 | 0.88 | 1 | 4780698.8768 | 4211355.7859 | 0
|  | Totals | [8 empty] | 42128123.7344 | 73431042.8033 | 34849366.2447
| Annual Additional Heat Needed: |  | 34.8494 | MBTU
Efficiencies
| oil furnace |  | 70%
| propane gas furnace |  | 75%
| Electric heater |  | 100%
| woodstove |  | 85%
|  |  | furnace size (BTUs/hr) | Amount
| Furnace size |  | 43238.0642 | 355.6058 | Gallons |  | Furnance sizes were factor of 24 too low
| propane gas |  | 40355.5266 | 507.8232 | Gallons
| electric heater |  | 30266.645 | 10204.7925 | Kilowatt-hour
| woodstove |  | 33771.0405 | 2.05 | Cords
| Total Purchase of fuel |  |  | 47.46%
| % solar |  |  | 52.54%
8 | Sizing the Solar Slab
1 | Insolation on Sunny Feb day | 434019.52
2 | average winter temp (appendix 5) | 29.4 | °F
| heat loss from 7:00 - 5:00 | 139398.4372 | BTUs
3 | Excess Heat | 294621.0828 | BTUs
4 | solar slab volume needed | 1227.5878 | ft^3
5 | Area of concrete slab | 2112 | ft^2
| Slab thickness necessary | 8.2058 | inches (minimum of 4" suggested)
| slab thickness necessary if on top of 12" concrete blocks (aka his design method) | 2.2058 | inches
Note on E12: Daniel Beideck: Double check this as lower # was making % solar higher????
Note on F96: Daniel Beideck: Double check this as lower # is making % solar higher????